## Slide 1: Development of Instrumentation for High-Precision Position Measurement
Done by:
Mohamed El-Jaam
Sharief Saleh
Asem Khattab
Mahmoud Mesleh
Senior Design Project
Supervised by:
Prof. Mohieddine Benammar
Dr. Faycal Bensaali
30/12/2015

## Slide 2: Outline
Introduction
Types of Rotary Sensors
Converters
Qatar University Contribution
Design Objectives and Constrains
Proposed PST Method
Simulation
Hardware Implementation
Achievements
What’s next?!

## Slide 3: Importance and Applications
In the past:
  No feedback
  Manually controlled
  Inaccurate and inefficient
In the present:
  Feedback system
  Rotary sensors
  Very High accuracy
1km
 = 45.0
1km
1003.5m
 = 45.1

## Slide 4: Types of rotary sensor
None trigonometric rotary sensor
  Optical rotary encoder
Trigonometric rotary sensor
  Hall Effect sensor
  Resolvers

## Slide 5: What is meant by converters?
Inputs and Outputs

## Slide 6: Types of converters
Open loop
Input
System
Output
Sin(θ)
θ
Cos(θ)

## Slide 7: Types of converters
Closed loop
Input
System
Output
Sin(θ)
θ
Feedback
+
-
Error
Cos(θ)

## Slide 8: Qatar University is Leading This Field!
Tens of published papers in this field have been produced by the faculty of the EE department of Qatar University since 2004
Many novel methods were described in these papers and considered valuable references and inspiration for many new methods
Almost every new research in the area cites one or more of these paper.
Among the active professors in the field are Prof. Mohieddine Benammar and Prof. Lazhar Ben Brahim
We are proud to be a part of this journey of contribution to human knowledge

## Slide 9: Design Objectives and Constraints
The converter should be implemented digitally
The converter should be an open loop converter
The error of the converter must be less than 0.01o
The converter must be independent of the amplitude of the SCS (Sine and Cosine Signals) as long as both amplitudes are equal
To meet these objective, we designed a novel converter…

## Slide 10: Introducing The Phase Shifted Tan Method (PST)

## Slide 11: What is the PST Method?
A novel open loop converter that depends on the pseudo-linearity of the tangent function
CC BY-SA 3.0

## Slide 12: PST Method, The Big Picture

## Slide 13: PST in Simple Steps
Step One: Locate the input angle in one of N equal-length segments in the [0 , 2π] interval using a logic circuit
Example: let N=4, the section number is directly calculated from Bit 1 and Bit 0

## Slide 14: PST in Simple Steps
Step Two: Calculate the Principal Angle , which is the middle point of each section, using simple mathematical relationship:
7π/4
5π/4
3π/4
π/4

## Slide 15: PST in Simple Steps
Step Three: Shift to the principal angle using simple operations on and :
Note that because of the symmetry of the tangent function, only N/2 PSTs are needed. Note also that the resultant PSTs are independent of the amplitude of the SCS

## Slide 16: PST in Simple Steps
Step Four: Use the PST to estimate the deviation angle utilizing one of two options:
  small angle approximation
  small LUT of the inverse tangent
  Estimated Angle:

## Slide 17: What if the N is increased?
The non-linearity of the PST will decrease and hence the error will be effectively reduced

## Slide 18: What if the N is increased?
complex logic circuits are needed for high values of N, Example: N=64
A novel algorithm was developed to do the task and produce bits
Logic circuit for N=64

## Slide 19: Performance of the PST Method
The error in presence of an accurate measurement of the amplitude of the SCS. N=16
The error in presence of 0.1% error in the amplitude of the SCS. N=16
Maximum Error as a function of the number of sections N

## Slide 20: Simulation

## Slide 21: Simulation
MATLAB
Simulink
LabVIEW

## Slide 22: Simulation: MATLAB
Resolver Emulator

## Slide 23: Simulation: Simulink
Version 1

## Slide 24: Simulation: Simulink
Version 2
Logic circuit for N=64

## Slide 25: Simulation: Simulink
Version 3

## Slide 26: Emulator: LabVIEW
Emulating sinusoidal sensor operating at:
Constant speed
Acceleration condition
Transient condition (Step angle)

## Slide 27: Emulator: LabVIEW
Constant speed emulator

## Slide 28: Emulator: LabVIEW
Acceleration emulation

## Slide 29: Emulator: LabVIEW
Transient emulation

## Slide 30: Hardware Implementation

## Slide 31: Hardware Implementation
The implementation was done on the Arduino Uno R3 & mbed
Arduino was used for testing
Implementation

## Slide 32: Hardware Implementation
Two practical tests
Equipment used

## Slide 33: Practical
Accuracy test. (at 20 degrees)

## Slide 34: Practical
Dynamic test (at 15 RPM)

## Slide 35: Practical
Dynamic test (at 45 RPM)

## Slide 36: Achievements of Phase One of the Project
All the design objectives and constraints have been successfully met
Interdisciplinary knowledge has been acquired and applied it to real life applications. EE courses utilized in this project include:
  Electronics
  Embedded systems
  Sensors and Instrumentation
  Control Systems
Valuable skills were honed, like efficient time management and effective teamwork
A conference paper was submitted to the 2016 IEEE Sensors Applications Symposium, Catania, Italy

## Slide 37: What is Next?
Developing signal correction techniques
Doing more dedicated testing for the converter
Using the converter in a closed loop motor control system and assessing its dynamic performance
Writing an IEEE journal paper